## Summary
LABOUR REQUIREMENT SUMMARY — ALL FLOORS
Floor / Module | Item | Work Unit | Work Qty | Labour Days (days)
Project ID: 6a76cb48a5742ff70092adec ¦ Generated: 2026-08-19 09:11 UTC
|  |  |  | Helper | Mason | Mixer Operator | Bar Bender | Carpenter | Tile Fixer | Painter
GROUND FLOOR
Foundation
| Excavation | cum | 52.42 | 26.21
| PCC(1:4:8) | cum | 5.23 | 12.9181
| PCC(1:4:8) | cum | 5.23 |  | 0.523
| FDN RCC(M25) | cum | 10.66 | 32.4064
| FDN RCC(M25) | cum | 10.66 |  | 1.8122
| FDN RCC(M25) | cum | 10.66 |  |  | 0.7462
| Pedestal RCC(M25) | cum | 1.169 | 3.5538
| Pedestal RCC(M25) | cum | 1.169 |  | 0.1987
| Pedestal RCC(M25) | cum | 1.169 |  |  | 0.0818
| FDNColumn RCC(M25) | cum | 0.651 | 1.979
| FDNColumn RCC(M25) | cum | 0.651 |  | 0.1107
| FDNColumn RCC(M25) | cum | 0.651 |  |  | 0.0456
| Footing main bars | kg | 180.95 |  |  |  | 1.14
| Footing Cross Reinforcement | kg | 180.95 |  |  |  | 1.14
| Pedestal Reinforcement | kg | 97.03 |  |  |  | 0.6113
| Pedestal Stirrups | kg | 75.59 |  |  |  | 0.4762
| FDNColumn Main Bars | kg | 129.16 |  |  |  | 0.8137
| FDNColumn Stirrups | kg | 30.32 |  |  |  | 0.191
| Footing Formwork | m² | 18.1 |  |  |  |  | 2.353
| Footing Formwork | m² | 18.1 | 2.353
| Pedestal Formwork | m² | 9.87 |  |  |  |  | 1.2831
| Pedestal Formwork | m² | 9.87 | 1.2831
| FDNColumn Formwork | m² | 16.21 |  |  |  |  | 2.1073
| FDNColumn Formwork | m² | 16.21 | 2.1073
| RFR (Returning and Filling) | m³ | 38.18
| Removal | m³ | 17.71
|  |  | Total | 82.8107 | 2.6446 | 0.8736 | 4.3722 | 5.7434
Plinth Beam
| Beam RCC(M25) | m³ | 11.51 | 46.04
| Beam RCC(M25) | m³ | 11.51 |  | 2.302
| Beam RCC(M25) | m³ | 11.51 |  |  | 0.8057
| Beam Formwork | m² | 128.54 |  |  |  |  | 38.562
| Beam Formwork | m² | 128.54 | 25.708
| Beam Main Bars | kg | 1006.6 |  |  |  | 6.5429
| Beam Extra Bars | kg | 0 |  |  |  | 0
| Beam Stirrups | kg | 318.97 |  |  |  | 2.0733
| Beam Total Steel | kg | 1325.57
|  |  | Total | 71.748 | 2.302 | 0.8057 | 8.6162 | 38.562
Beams
| Beam RCC(M25) | cum | 6.29 | 25.16
| Beam RCC(M25) | cum | 6.29 |  | 1.258
| Beam RCC(M25) | cum | 6.29 |  |  | 0.4403
| Beam Formwork | Sqm | 97.28 |  |  |  |  | 29.184
| Beam Formwork | Sqm | 97.28 | 19.456
| Beam Main Bars | kg | 945.85 |  |  |  | 6.148
| Beam Extra Bars | kg | 264.8 |  |  |  | 1.7212
| Beam Stirrups | kg | 397.48 |  |  |  | 2.5836
| Beam Total Steel | kg | 1608.13
|  |  | Total | 44.616 | 1.258 | 0.4403 | 10.4528 | 29.184
Slab
| Slab RCC (M25) | m³ | 15.029 | 52.1506
| Slab RCC (M25) | m³ | 15.029 |  | 3.607
| Slab RCC (M25) | m³ | 15.029 |  |  | 1.052
| Slab Main Bars SS | kg | 515.21 |  |  |  | 3.3489
| Slab Dist Bars LS | kg | 456.05 |  |  |  | 2.9643
| Slab Top Dist Bars | kg | 424.03 |  |  |  | 2.7562
| Slab Total Steel | kg | 1395.29
| Slab Total Steel | qntl | 13.953
| Slab Formwork | m² | 118.35 |  |  |  |  | 27.2205
| Slab Formwork | m² | 118.35 | 23.67
|  |  | Total | 75.8206 | 3.607 | 1.052 | 9.0694 | 27.2205
Columns
| Column RCC(M25) | m³ | 1.96 | 8.9572
| Column RCC(M25) | m³ | 1.96 |  | 0.4508
| Column RCC(M25) | m³ | 1.96 |  |  | 0.1372
| Column Main Bars | kg | 335.56 |  |  |  | 2.114
| Column Stirrups | kg | 94.54 |  |  |  | 0.5956
| Column Formwork | m² | 31.99 |  |  |  |  | 7.9975
| Column Formwork | m² | 31.99 | 6.398
|  |  | Total | 15.3552 | 0.4508 | 0.1372 | 2.7096 | 7.9975
Lintel Beams
| Beam RCC(M25) | m³ | 4.76 | 19.04
| Beam RCC(M25) | m³ | 4.76 |  | 0.952
| Beam RCC(M25) | m³ | 4.76 |  |  | 0.3332
| Beam Formwork | m² | 62.34 |  |  |  |  | 18.702
| Beam Formwork | m² | 62.34 | 12.468
| Beam Main Bars | kg | 337.24 |  |  |  | 2.1921
| Beam Stirrups | kg | 230.54 |  |  |  | 1.4985
| total reinforcement | kg | 567.78
|  |  | Total | 31.508 | 0.952 | 0.3332 | 3.6906 | 18.702
Walls / Floor / Doors / Finishes
| Wooden Door Shutter | sqm | 6.175 |  |  |  |  | 1.235
| Wooden Door Shutter | sqm | 6.175 | 0.6175
| Wooden Door Frame | cum | 0.113 |  |  |  |  | 0.0848
| Wooden Door Frame | cum | 0.113 | 0.0424
| UPVC Toilet Door | sqm | 6.501 |  |  |  |  | 2.2753
| UPVC Toilet Door | sqm | 6.501 | 1.1702
| UPVC Windows | sqm | 19.879 |  |  |  |  | 9.9395
| UPVC Windows | sqm | 19.879 | 4.9698
| UPVC Ventilators | sqm | 0.744 |  |  |  |  | 0.279
| UPVC Ventilators | sqm | 0.744 | 0.186
| Full Brick Wall | cum | 41.673 | 80.4289
| Full Brick Wall | cum | 41.673 |  | 40.8395
| Half Brick Wall | sqm | 0 | 0
| Half Brick Wall | sqm | 0 |  | 0
| Floor Area | sqm | 142.587 | 78.4228
| Floor Area | sqm | 142.587 |  | 78.4228
| Floor Area | sqm | 142.587 | [5 empty] | 21.388
| External Plaster | sqm | 129.919 | 22.0862
| External Plaster | sqm | 129.919 |  | 14.2911
| Internal Plaster | sqm | 265.754 | 34.548
| Internal Plaster | sqm | 265.754 |  | 21.2603
| External Painting | sqm | 129.919 | 5.8464
| External Painting | sqm | 129.919 | [6 empty] | 7.1455
| Internal Painting | sqm | 265.754 | 9.3014
| Internal Painting | sqm | 265.754 | [6 empty] | 11.9589
| Wooden Door Painting | sqm | 7.41 | 0.3705
| Wooden Door Painting | sqm | 7.41 | [6 empty] | 0.8151
| Subfloor Filling | cum | 28.517 | 57.034
| Subfloor PCC 1:3:6 | cum | 14.259 | 35.2197
| Subfloor PCC 1:3:6 | cum | 14.259 |  | 1.4259
| Subfloor PCC 1:2:4 | cum | 10.694 | 26.4142
| Subfloor PCC 1:2:4 | cum | 10.694 |  | 1.0694
| Cement Screed Bed | cum | 2.852 | 0.5704
| Cement Screed Bed | cum | 2.852 |  | 0.5704
|  |  | Total | 357.2284 | 157.8794 |  |  | 13.8136 | 21.388 | 19.9195
|  |  | GRAND TOTAL | 679.0869 | 169.0938 | 3.642 | 38.9108 | 141.223 | 21.388 | 19.9195

## Constants Used
LABOUR CONSTANTS — 2026-08-19 09:11 UTC
Work Item | Work Unit | Labour Type | Constant | Unit | Source
Excavation | cum | Helper | 0.5 | days per cum | default
PCC(1:4:8) | cum | Helper | 2.47 | days per cum | default
PCC(1:4:8) | cum | Mason | 0.1 | days per cum | default
PCC(1:3:6) | cum | Helper | 2.47 | days per cum | default
PCC(1:3:6) | cum | Mason | 0.1 | days per cum | default
FDN RCC(M25) | cum | Helper | 3.04 | days per cum | default
FDN RCC(M25) | cum | Mason | 0.17 | days per cum | default
FDN RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Pedestal RCC(M25) | cum | Helper | 3.04 | days per cum | default
Pedestal RCC(M25) | cum | Mason | 0.17 | days per cum | default
Pedestal RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
FDNColumn RCC(M25) | cum | Helper | 3.04 | days per cum | default
FDNColumn RCC(M25) | cum | Mason | 0.17 | days per cum | default
FDNColumn RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Footing main bars | quintal | Bar Bender | 0.63 | days per quintal | default
Footing Cross Reinforcement | quintal | Bar Bender | 0.63 | days per quintal | default
Pedestal Reinforcement | quintal | Bar Bender | 0.63 | days per quintal | default
Pedestal Stirrups | quintal | Bar Bender | 0.63 | days per quintal | default
FDNColumn Main Bars | quintal | Bar Bender | 0.63 | days per quintal | default
FDNColumn Stirrups | quintal | Bar Bender | 0.63 | days per quintal | default
Footing Formwork | sqm | Carpenter | 0.13 | days per sqm | default
Footing Formwork | sqm | Helper | 0.13 | days per sqm | default
Pedestal Formwork | sqm | Carpenter | 0.13 | days per sqm | default
Pedestal Formwork | sqm | Helper | 0.13 | days per sqm | default
FDNColumn Formwork | sqm | Carpenter | 0.13 | days per sqm | default
FDNColumn Formwork | sqm | Helper | 0.13 | days per sqm | default
Beam RCC(M25) | cum | Helper | 4 | days per cum | default
Beam RCC(M25) | cum | Mason | 0.2 | days per cum | default
Beam RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Beam Formwork | sqm | Carpenter | 0.3 | days per sqm | default
Beam Formwork | sqm | Helper | 0.2 | days per sqm | default
Beam Main Bars | quintal | Bar Bender | 0.65 | days per quintal | default
Beam Extra Bars | quintal | Bar Bender | 0.65 | days per quintal | default
Beam Stirrups | quintal | Bar Bender | 0.65 | days per quintal | default
Column RCC(M25) | cum | Helper | 4.57 | days per cum | default
Column RCC(M25) | cum | Mason | 0.23 | days per cum | default
Column RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Column Formwork | sqm | Carpenter | 0.25 | days per sqm | default
Column Formwork | sqm | Helper | 0.2 | days per sqm | default
Column Main Bars | quintal | Bar Bender | 0.63 | days per quintal | default
Column Stirrups | quintal | Bar Bender | 0.63 | days per quintal | default
Slab RCC (M25) | cum | Helper | 3.47 | days per cum | default
Slab RCC (M25) | cum | Mason | 0.24 | days per cum | default
Slab RCC (M25) | cum | Mixer Operator | 0.07 | days per cum | default
Slab Formwork | sqm | Carpenter | 0.23 | days per sqm | default
Slab Formwork | sqm | Helper | 0.2 | days per sqm | default
Slab Main Bars SS | kg | Bar Bender | 0.0065 | days per kg | default
Slab Dist Bars LS | kg | Bar Bender | 0.0065 | days per kg | default
Slab Top Dist Bars | kg | Bar Bender | 0.0065 | days per kg | default
Wooden Door Shutter | Nos | Carpenter | 0.2 | days per Nos | default
Wooden Door Shutter | Nos | Helper | 0.1 | days per Nos | default
Wooden Door Frame | cum | Carpenter | 0.75 | days per cum | default
Wooden Door Frame | cum | Helper | 0.375 | days per cum | default
UPVC Toilet Door | Nos | Carpenter | 0.35 | days per Nos | default
UPVC Toilet Door | Nos | Helper | 0.18 | days per Nos | default
UPVC Windows | Nos | Carpenter | 0.5 | days per Nos | default
UPVC Windows | Nos | Helper | 0.25 | days per Nos | default
UPVC Ventilators | Nos | Carpenter | 0.375 | days per Nos | default
UPVC Ventilators | Nos | Helper | 0.25 | days per Nos | default
Full Brick Wall | cum | Helper | 1.93 | days per cum | default
Full Brick Wall | cum | Mason | 0.98 | days per cum | default
Half Brick Wall | sqm | Helper | 0.25 | days per sqm | default
Half Brick Wall | sqm | Mason | 0.13 | days per sqm | default
Floor Area | sqm | Helper | 0.55 | days per sqm | default
Floor Area | sqm | Mason | 0.55 | days per sqm | default
Floor Area | sqm | Tile Fixer | 0.15 | days per sqm | default
Internal Plaster | sqm | Helper | 0.13 | days per sqm | default
Internal Plaster | sqm | Mason | 0.08 | days per sqm | default
External Plaster | sqm | Helper | 0.17 | days per sqm | default
External Plaster | sqm | Mason | 0.11 | days per sqm | default
External Painting | sqm | Helper | 0.045 | days per sqm | default
External Painting | sqm | Painter | 0.055 | days per sqm | default
Internal Painting | sqm | Helper | 0.035 | days per sqm | default
Internal Painting | sqm | Painter | 0.045 | days per sqm | default
Wooden Door Painting | sqm | Helper | 0.05 | days per sqm | default
Wooden Door Painting | sqm | Painter | 0.11 | days per sqm | default
Subfloor Filling | cum | Helper | 2 | days per cum | default
Subfloor PCC 1:3:6 | cum | Helper | 2.47 | days per cum | default
Subfloor PCC 1:3:6 | cum | Mason | 0.1 | days per cum | default
Subfloor PCC 1:2:4 | cum | Helper | 2.47 | days per cum | default
Subfloor PCC 1:2:4 | cum | Mason | 0.1 | days per cum | default
Cement Screed Bed | sqm | Helper | 0.2 | days per sqm | default
Cement Screed Bed | sqm | Mason | 0.2 | days per sqm | default