## Summary
LABOUR REQUIREMENT SUMMARY — ALL FLOORS
Floor / Module | Item | Work Unit | Work Qty | Labour Days (days)
Project ID: 6a85745c13a065b2b9101a15 ¦ Generated: 2026-08-20 07:39 UTC
|  |  |  | Helper | Mason | Mixer Operator | Bar Bender | Carpenter
GROUND FLOOR
Foundation
| Excavation | cum | 50.04 | 25.02
| PCC(1:4:8) | cum | 2.5 | 6.175
| PCC(1:4:8) | cum | 2.5 |  | 0.25
| FDN RCC(M25) | cum | 9.99 | 30.3696
| FDN RCC(M25) | cum | 9.99 |  | 1.6983
| FDN RCC(M25) | cum | 9.99 |  |  | 0.6993
| Pedestal RCC(M25) | cum | 0.388 | 1.1795
| Pedestal RCC(M25) | cum | 0.388 |  | 0.066
| Pedestal RCC(M25) | cum | 0.388 |  |  | 0.0272
| FDNColumn RCC(M25) | cum | 0.607 | 1.8453
| FDNColumn RCC(M25) | cum | 0.607 |  | 0.1032
| FDNColumn RCC(M25) | cum | 0.607 |  |  | 0.0425
| Footing main bars | kg | 180.95 |  |  |  | 1.14
| Footing Cross Reinforcement | kg | 180.95 |  |  |  | 1.14
| Pedestal Reinforcement | kg | 135.89 |  |  |  | 0.8561
| Pedestal Stirrups | kg | 40.88 |  |  |  | 0.2575
| FDNColumn Main Bars | kg | 159.08 |  |  |  | 1.0022
| FDNColumn Stirrups | kg | 26.53 |  |  |  | 0.1671
| Footing Formwork | m² | 18.1 |  |  |  |  | 2.353
| Footing Formwork | m² | 18.1 | 2.353
| Pedestal Formwork | m² | 6.11 |  |  |  |  | 0.7943
| Pedestal Formwork | m² | 6.11 | 0.7943
| FDNColumn Formwork | m² | 15.95 |  |  |  |  | 2.0735
| FDNColumn Formwork | m² | 15.95 | 2.0735
| RFR (Returning and Filling) | m³ | 40.21
| Removal | m³ | 13.49
|  |  | Total | 69.8102 | 2.1175 | 0.769 | 4.5629 | 5.2208
|  |  | GRAND TOTAL | 69.8102 | 2.1175 | 0.769 | 4.5629 | 5.2208

## Constants Used
LABOUR CONSTANTS — 2026-08-20 07:39 UTC
Work Item | Work Unit | Labour Type | Constant | Unit | Source
Excavation | cum | Helper | 0.5 | days per cum | default
PCC(1:4:8) | cum | Helper | 2.47 | days per cum | default
PCC(1:4:8) | cum | Mason | 0.1 | days per cum | default
PCC(1:3:6) | cum | Helper | 2.47 | days per cum | default
PCC(1:3:6) | cum | Mason | 0.1 | days per cum | default
FDN RCC(M25) | cum | Helper | 3.04 | days per cum | default
FDN RCC(M25) | cum | Mason | 0.17 | days per cum | default
FDN RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Pedestal RCC(M25) | cum | Helper | 3.04 | days per cum | default
Pedestal RCC(M25) | cum | Mason | 0.17 | days per cum | default
Pedestal RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
FDNColumn RCC(M25) | cum | Helper | 3.04 | days per cum | default
FDNColumn RCC(M25) | cum | Mason | 0.17 | days per cum | default
FDNColumn RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Footing main bars | quintal | Bar Bender | 0.63 | days per quintal | default
Footing Cross Reinforcement | quintal | Bar Bender | 0.63 | days per quintal | default
Pedestal Reinforcement | quintal | Bar Bender | 0.63 | days per quintal | default
Pedestal Stirrups | quintal | Bar Bender | 0.63 | days per quintal | default
FDNColumn Main Bars | quintal | Bar Bender | 0.63 | days per quintal | default
FDNColumn Stirrups | quintal | Bar Bender | 0.63 | days per quintal | default
Footing Formwork | sqm | Carpenter | 0.13 | days per sqm | default
Footing Formwork | sqm | Helper | 0.13 | days per sqm | default
Pedestal Formwork | sqm | Carpenter | 0.13 | days per sqm | default
Pedestal Formwork | sqm | Helper | 0.13 | days per sqm | default
FDNColumn Formwork | sqm | Carpenter | 0.13 | days per sqm | default
FDNColumn Formwork | sqm | Helper | 0.13 | days per sqm | default
Beam RCC(M25) | cum | Helper | 4 | days per cum | default
Beam RCC(M25) | cum | Mason | 0.2 | days per cum | default
Beam RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Beam Formwork | sqm | Carpenter | 0.3 | days per sqm | default
Beam Formwork | sqm | Helper | 0.2 | days per sqm | default
Beam Main Bars | quintal | Bar Bender | 0.65 | days per quintal | default
Beam Extra Bars | quintal | Bar Bender | 0.65 | days per quintal | default
Beam Stirrups | quintal | Bar Bender | 0.65 | days per quintal | default
Column RCC(M25) | cum | Helper | 4.57 | days per cum | default
Column RCC(M25) | cum | Mason | 0.23 | days per cum | default
Column RCC(M25) | cum | Mixer Operator | 0.07 | days per cum | default
Column Formwork | sqm | Carpenter | 0.25 | days per sqm | default
Column Formwork | sqm | Helper | 0.2 | days per sqm | default
Column Main Bars | quintal | Bar Bender | 0.63 | days per quintal | default
Column Stirrups | quintal | Bar Bender | 0.63 | days per quintal | default
Slab RCC (M25) | cum | Helper | 3.47 | days per cum | default
Slab RCC (M25) | cum | Mason | 0.24 | days per cum | default
Slab RCC (M25) | cum | Mixer Operator | 0.07 | days per cum | default
Slab Formwork | sqm | Carpenter | 0.23 | days per sqm | default
Slab Formwork | sqm | Helper | 0.2 | days per sqm | default
Slab Main Bars SS | kg | Bar Bender | 0.0065 | days per kg | default
Slab Dist Bars LS | kg | Bar Bender | 0.0065 | days per kg | default
Slab Top Dist Bars | kg | Bar Bender | 0.0065 | days per kg | default
Wooden Door Shutter | Nos | Carpenter | 0.2 | days per Nos | default
Wooden Door Shutter | Nos | Helper | 0.1 | days per Nos | default
Wooden Door Frame | cum | Carpenter | 0.75 | days per cum | default
Wooden Door Frame | cum | Helper | 0.375 | days per cum | default
UPVC Toilet Door | Nos | Carpenter | 0.35 | days per Nos | default
UPVC Toilet Door | Nos | Helper | 0.18 | days per Nos | default
UPVC Windows | Nos | Carpenter | 0.5 | days per Nos | default
UPVC Windows | Nos | Helper | 0.25 | days per Nos | default
UPVC Ventilators | Nos | Carpenter | 0.375 | days per Nos | default
UPVC Ventilators | Nos | Helper | 0.25 | days per Nos | default
Full Brick Wall | cum | Helper | 1.93 | days per cum | default
Full Brick Wall | cum | Mason | 0.98 | days per cum | default
Half Brick Wall | sqm | Helper | 0.25 | days per sqm | default
Half Brick Wall | sqm | Mason | 0.13 | days per sqm | default
Floor Area | sqm | Helper | 0.55 | days per sqm | default
Floor Area | sqm | Mason | 0.55 | days per sqm | default
Floor Area | sqm | Tile Fixer | 0.15 | days per sqm | default
Internal Plaster | sqm | Helper | 0.13 | days per sqm | default
Internal Plaster | sqm | Mason | 0.08 | days per sqm | default
External Plaster | sqm | Helper | 0.17 | days per sqm | default
External Plaster | sqm | Mason | 0.11 | days per sqm | default
External Painting | sqm | Helper | 0.045 | days per sqm | default
External Painting | sqm | Painter | 0.055 | days per sqm | default
Internal Painting | sqm | Helper | 0.035 | days per sqm | default
Internal Painting | sqm | Painter | 0.045 | days per sqm | default
Wooden Door Painting | sqm | Helper | 0.05 | days per sqm | default
Wooden Door Painting | sqm | Painter | 0.11 | days per sqm | default
Subfloor Filling | cum | Helper | 2 | days per cum | default
Subfloor PCC 1:3:6 | cum | Helper | 2.47 | days per cum | default
Subfloor PCC 1:3:6 | cum | Mason | 0.1 | days per cum | default
Subfloor PCC 1:2:4 | cum | Helper | 2.47 | days per cum | default
Subfloor PCC 1:2:4 | cum | Mason | 0.1 | days per cum | default
Cement Screed Bed | sqm | Helper | 0.2 | days per sqm | default
Cement Screed Bed | sqm | Mason | 0.2 | days per sqm | default