## Summary
SLAB ESTIMATION SUMMARY
Item | Unit | Quantity
Slab RCC(M25) | m³
Slab Formwork | m²
Slab Main Bars | kg
Slab Cross Bars | kg
Slab Top Dist Bars | kg
Slab Total Steel | kg

## Panel Dimensions
PANEL DIMENSIONS — LENGTH, WIDTH, RCC VOLUME & FORMWORK
PANEL DIMENSIONS
Slab | Panel | Type | Length c/c (m) | Width c/c (m) | Area (m²) | Thickness (m) | RCC Volume (m³) | Formwork (m²) | Grid Ref | Note
S-1 | A1 | Oneway | 2.819 | 2.642 |  | 0.127 |  |  | A-B / 3-4
S-1 | A2 | Oneway | 2.921 | 2.642 |  | 0.127 |  |  | B-C / 3-4
S-1 | A3 | Oneway | 2.819 | 2.616 |  | 0.127 |  |  | A-B / 1-2
S-1 | A4 | Oneway | 2.921 | 2.616 |  | 0.127 |  |  | B-C / 1-2
S-2 | A1 | Twoway | 2.819 | 2.54 |  | 0.127 |  |  | A-B / 6-7
S-2 | A2 | Twoway | 2.921 | 2.54 |  | 0.127 |  |  | B-C / 6-7
S-2 | A3 | Twoway | 2.819 | 2.54 |  | 0.127 |  |  | A-B / 5-6
S-2 | A4 | Twoway | 2.921 | 2.54 |  | 0.127 |  |  | B-C / 5-6
S-3 | A1 | Twoway | 2.819 | 2.642 |  | 0.127 |  |  | A-B / 2-3
S-3 | A2 | Twoway | 2.921 | 2.642 |  | 0.127 |  |  | B-C / 2-3
S-4 | A1 | Oneway | 2.819 | 2.54 |  | 0.14 |  |  | A-B / 4-5
S-5 | A1 | Twoway | 2.921 | 2.54 |  | 0.165 |  |  | B-C / 4-5
S-6 | A1 | Cantilever | 1.067 | 2.616 |  | 0.152 |  |  | C-D / 1-2 | cantilever

## Civil Works
CIVIL WORKS – RCC VOLUMES & FORMWORK
RCC VOLUMES
Slab | Total Area (m²) | Thickness (m) | Volume (m³)
S-1 | 30.181 | 0.127
S-2 | 29.159 | 0.127
S-3 | 15.165 | 0.127
S-4 | 7.16 | 0.14
S-5 | 7.419 | 0.165
S-6 | 2.791 | 0.152
FORMWORK
Slab | Soffit Area (m²) | Total Formwork (m²)
S-1 | 30.18
S-2 | 29.16
S-3 | 15.17
S-4 | 7.16
S-5 | 7.42
S-6 | 2.79

## Reinforcement
REINFORCEMENT DETAILS
SHORT SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.152 | 219.58
S-2 | 8 | 0.152 | 212.64
S-3 | 10 | 0.178 | 94.5
S-4 | 10 | 0.152 | 52.55
S-5 | 10 | 0.127 | 66.69
S-6 | 10 | 0.152 | 22.45
LONG SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.203 | 162.76
S-2 | 8 | 0.152 | 204.95
S-3 | 8 | 0.178 | 90.42
S-4 | 8 | 0.203 | 38.52
S-5 | 10 | 0.127 | 65.12
S-6 | 8 | 0.152 | 22.08
TOP DISTRIBUTION BARS
Slab | Zone Ratio | Required | Total Length (m) | Wt (kg)
S-1 | 0.25 | TRUE | 0 | 43.82
S-2 | 0.25 | TRUE | 0 | 90.04
S-3 | 0.25 | TRUE | 0 | 49.34
S-4 | 0.25 | TRUE | 0 | 16.79
S-5 | 0.25 | TRUE | 0 | 43.12
S-6 | 0.25 | FALSE | 0 | 0

## Slab Panels
SLAB PANEL DETAILS
PANEL SUMMARY
Slab | Type | Area (m²) | Thickness (m) | SS Dia (mm) | SS Sp (m) | LS Dia (mm) | LS Sp (m) | Top Bars (kg) | Total Steel (kg)
S-1 | Oneway | 30.181 | 0.127 | 8 | 0.152 | 8 | 0.203 | 43.82 | 194.87
S-2 | Twoway | 29.159 | 0.127 | 8 | 0.152 | 8 | 0.152 | 90.04 | 255.02
S-3 | Twoway | 15.165 | 0.127 | 10 | 0.178 | 8 | 0.178 | 49.34 | 143.39
S-4 | Oneway | 7.16 | 0.14 | 10 | 0.152 | 8 | 0.203 | 16.79 | 64.45
S-5 | Twoway | 7.419 | 0.165 | 10 | 0.127 | 10 | 0.127 | 43.12 | 124.49
S-6 | Cantilever | 2.791 | 0.152 | 10 | 0.152 | 8 | 0.152 | 0 | 22.58