## Summary
SLAB ESTIMATION SUMMARY
Item | Unit | Quantity
Slab RCC(M25) | m³
Slab Formwork | m²
Slab Main Bars | kg
Slab Cross Bars | kg
Slab Top Dist Bars | kg
Slab Total Steel | kg

## Panel Dimensions
PANEL DIMENSIONS — LENGTH, WIDTH, RCC VOLUME & FORMWORK
PANEL DIMENSIONS
Slab | Panel | Type | Length c/c (m) | Width c/c (m) | Area (m²) | Thickness (m) | RCC Volume (m³) | Formwork (m²) | Grid Ref | Note
S-1 | A1 | Oneway | 4.75 | 4.775 |  | 0.127 |  |  | A-B / 3-4
S-1 | A2 | Oneway | 4.75 | 4.7 |  | 0.127 |  |  | A-B / 2-3
S-2 | A1 | Oneway | 5.842 | 4.775 |  | 0.127 |  |  | B-C / 3-4
S-3 | A1 | Twoway | 5.842 | 4.7 |  | 0.127 |  |  | B-C / 2-3
S-4 | A1 | Twoway | 4.75 | 4.7 |  | 0.127 |  |  | A-B / 1-2
S-5 | A1 | Twoway | 5.842 | 4.7 |  | 0.152 |  |  | B-C / 1-2
S-7 | A1 | Cantilever | 2.134 | 1.397 |  | 0.178 |  |  | C-D / 1-2 | cantilever

## Civil Works
CIVIL WORKS – RCC VOLUMES & FORMWORK
RCC VOLUMES
Slab | Total Area (m²) | Thickness (m) | Volume (m³)
S-1 | 45.006 | 0.127
S-2 | 27.896 | 0.127
S-3 | 27.457 | 0.127
S-4 | 22.325 | 0.127
S-5 | 27.457 | 0.152
S-6 | 0 | 0.178
S-7 | 2.981 | 0.178
FORMWORK
Slab | Soffit Area (m²) | Total Formwork (m²)
S-1 | 45.01
S-2 | 27.9
S-3 | 27.46
S-4 | 22.32
S-5 | 27.46
S-6 | 0
S-7 | 2.98

## Reinforcement
REINFORCEMENT DETAILS
SHORT SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.152 | 314.38
S-2 | 8 | 0.127 | 233.18
S-3 | 10 | 0.178 | 162.41
S-4 | 10 | 0.152 | 157.53
S-5 | 10 | 0.127 | 231.81
S-6 | 10 | 0.152 | 0
S-7 | 12 | 0.127 | 27.42
LONG SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.203 | 235.51
S-2 | 8 | 0.178 | 161.62
S-3 | 8 | 0.178 | 161.62
S-4 | 10 | 0.152 | 152.83
S-5 | 10 | 0.127 | 228.84
S-6 | 8 | 0.178 | 0
S-7 | 8 | 0.178 | 18.22
TOP DISTRIBUTION BARS
Slab | Zone Ratio | Required | Total Length (m) | Wt (kg)
S-1 | 0.25 | TRUE | 0 | 61.55
S-2 | 0.25 | TRUE | 0 | 38.87
S-3 | 0.25 | TRUE | 0 | 84.74
S-4 | 0.25 | TRUE | 0 | 96.89
S-5 | 0.25 | TRUE | 0 | 149.46
S-6 | 0.25 | FALSE | 0 | 0
S-7 | 0.25 | FALSE | 0 | 0

## Slab Panels
SLAB PANEL DETAILS
PANEL SUMMARY
Slab | Type | Area (m²) | Thickness (m) | SS Dia (mm) | SS Sp (m) | LS Dia (mm) | LS Sp (m) | Top Bars (kg) | Total Steel (kg)
S-1 | Oneway | 45.006 | 0.127 | 8 | 0.152 | 8 | 0.203 | 61.55 | 278.79
S-2 | Oneway | 27.896 | 0.127 | 8 | 0.127 | 8 | 0.178 | 38.87 | 194.84
S-3 | Twoway | 27.457 | 0.127 | 10 | 0.178 | 8 | 0.178 | 84.74 | 248.84
S-4 | Twoway | 22.325 | 0.127 | 10 | 0.152 | 10 | 0.152 | 96.89 | 288.47
S-5 | Twoway | 27.457 | 0.152 | 10 | 0.127 | 10 | 0.127 | 149.46 | 433.82
S-6 | Cantilever | 0 | 0.178 | 10 | 0.152 | 8 | 0.178 | 0 | 0
S-7 | Cantilever | 2.981 | 0.178 | 12 | 0.127 | 8 | 0.178 | 0 | 31.57