## Summary
SLAB ESTIMATION SUMMARY
Item | Unit | Quantity
Slab RCC(M25) | m³
Slab Formwork | m²
Slab Main Bars | kg
Slab Cross Bars | kg
Slab Top Dist Bars | kg
Slab Total Steel | kg

## Panel Dimensions
PANEL DIMENSIONS — LENGTH, WIDTH, RCC VOLUME & FORMWORK
PANEL DIMENSIONS
Slab | Panel | Type | Length c/c (m) | Width c/c (m) | Area (m²) | Thickness (m) | RCC Volume (m³) | Formwork (m²) | Grid Ref | Note
S-1 | A1 | Oneway | 4.775 | 4.7 |  | 0.127 |  |  | A-B / 4-5
S-1 | A2 | Oneway | 2.642 | 4.7 |  | 0.127 |  |  | B-C / 1-2
S-2 | A1 | Oneway | 4.7 | 4.7 |  | 0.127 |  |  | B-C / 4-5
S-2 | A2 | Oneway | 4.7 | 4.7 |  | 0.127 |  |  | B-C / 1-2
S-3 | A1 | Twoway | 4.775 | 2.134 |  | 0.127 |  |  | A-B / 3-4
S-4 | A1 | Twoway | 4.775 | 4.7 |  | 0.127 |  |  | A-B / 1-2
S-4 | A2 | Twoway | 4.7 | 4.7 |  | 0.127 |  |  | B-C / 3-4
S-7 | A1 | Cantilever | 2.134 | 1.397 |  | 0.178 |  |  | C-D / 1-2 | cantilever

## Civil Works
CIVIL WORKS – RCC VOLUMES & FORMWORK
RCC VOLUMES
Slab | Total Area (m²) | Thickness (m) | Volume (m³)
S-1 | 34.86 | 0.127
S-2 | 44.18 | 0.127
S-3 | 10.19 | 0.127
S-4 | 44.532 | 0.127
S-5 | 0 | 0.152
S-6 | 0 | 0.178
S-7 | 2.981 | 0.178
FORMWORK
Slab | Soffit Area (m²) | Total Formwork (m²)
S-1 | 34.86
S-2 | 44.18
S-3 | 10.19
S-4 | 44.53
S-5 | 0
S-6 | 0
S-7 | 2.98

## Reinforcement
REINFORCEMENT DETAILS
SHORT SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.152 | 244.06
S-2 | 8 | 0.127 | 371.43
S-3 | 10 | 0.178 | 63.59
S-4 | 10 | 0.152 | 310.1
S-5 | 10 | 0.127 | 0
S-6 | 10 | 0.152 | 0
S-7 | 12 | 0.127 | 27.42
LONG SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.203 | 185.87
S-2 | 8 | 0.178 | 261.58
S-3 | 8 | 0.178 | 59.03
S-4 | 10 | 0.152 | 304.88
S-5 | 10 | 0.127 | 0
S-6 | 8 | 0.178 | 0
S-7 | 8 | 0.178 | 18.22
TOP DISTRIBUTION BARS
Slab | Zone Ratio | Required | Total Length (m) | Wt (kg)
S-1 | 0.25 | TRUE | 0 | 41.63
S-2 | 0.25 | TRUE | 0 | 76.55
S-3 | 0.25 | TRUE | 0 | 35.78
S-4 | 0.25 | TRUE | 0 | 193.53
S-5 | 0.25 | TRUE | 0 | 0
S-6 | 0.25 | FALSE | 0 | 0
S-7 | 0.25 | FALSE | 0 | 0

## Slab Panels
SLAB PANEL DETAILS
PANEL SUMMARY
Slab | Type | Area (m²) | Thickness (m) | SS Dia (mm) | SS Sp (m) | LS Dia (mm) | LS Sp (m) | Top Bars (kg) | Total Steel (kg)
S-1 | Oneway | 34.86 | 0.127 | 8 | 0.152 | 8 | 0.203 | 41.63 | 211.48
S-2 | Oneway | 44.18 | 0.127 | 8 | 0.127 | 8 | 0.178 | 76.55 | 326.63
S-3 | Twoway | 10.19 | 0.127 | 10 | 0.178 | 8 | 0.178 | 35.78 | 98.35
S-4 | Twoway | 44.532 | 0.127 | 10 | 0.152 | 10 | 0.152 | 193.53 | 573.15
S-5 | Twoway | 0 | 0.152 | 10 | 0.127 | 10 | 0.127 | 0 | 0
S-6 | Cantilever | 0 | 0.178 | 10 | 0.152 | 8 | 0.178 | 0 | 0
S-7 | Cantilever | 2.981 | 0.178 | 12 | 0.127 | 8 | 0.178 | 0 | 31.57