## Summary
SLAB ESTIMATION SUMMARY
Item | Unit | Quantity
Slab RCC(M25) | m³
Slab Formwork | m²
Slab Main Bars | kg
Slab Cross Bars | kg
Slab Top Dist Bars | kg
Slab Total Steel | kg

## Panel Dimensions
PANEL DIMENSIONS — LENGTH, WIDTH, RCC VOLUME & FORMWORK
PANEL DIMENSIONS
Slab | Panel | Type | Length c/c (m) | Width c/c (m) | Area (m²) | Thickness (m) | RCC Volume (m³) | Formwork (m²) | Grid Ref | Note
S-1 | A1 | Oneway | 4.75 | 4.775 |  | 0.127 |  |  | A-B / 4-5
S-1 | A2 | Oneway | 1.753 | 1.397 |  | 0.127 |  |  | A-B / 3-4 | near lift
S-1 | A3 | Oneway | 1.778 | 1.397 |  | 0.127 |  |  | A-B / 3-4 | near staircase
S-2 | A1 | Oneway | 4.775 | 4.775 |  | 0.127 |  |  | B-C / 4-5
S-3 | A1 | Twoway | 4.7 | 1.092 |  | 0.127 |  |  | A-B / 3-4
S-4 | A1 | Twoway | 4.7 | 4.7 |  | 0.127 |  |  | B-C / 3-4
S-4 | A2 | Twoway | 4.7 | 4.7 |  | 0.127 |  |  | A-B / 1-2
S-5 | A1 | Twoway | 5.842 | 4.7 |  | 0.152 |  |  | B-C / 1-2
S-7 | A1 | Cantilever | 2.134 | 4.7 |  | 0.178 |  |  | C-D / 1-2 | cantilever

## Civil Works
CIVIL WORKS – RCC VOLUMES & FORMWORK
RCC VOLUMES
Slab | Total Area (m²) | Thickness (m) | Volume (m³)
S-1 | 27.614 | 0.127
S-2 | 22.801 | 0.127
S-3 | 5.132 | 0.127
S-4 | 44.18 | 0.127
S-5 | 27.457 | 0.152
S-6 | 0 | 0.178
S-7 | 10.03 | 0.178
FORMWORK
Slab | Soffit Area (m²) | Total Formwork (m²)
S-1 | 27.61
S-2 | 22.8
S-3 | 5.13
S-4 | 44.18
S-5 | 27.46
S-6 | 0
S-7 | 10.03

## Reinforcement
REINFORCEMENT DETAILS
SHORT SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.152 | 196.01
S-2 | 8 | 0.127 | 188.57
S-3 | 10 | 0.178 | 35.46
S-4 | 10 | 0.152 | 305.13
S-5 | 10 | 0.127 | 231.81
S-6 | 10 | 0.152 | 0
S-7 | 12 | 0.127 | 89.3
LONG SPAN REINFORCEMENT
Slab | Dia (mm) | Spacing (m) | Total Length (m) | Wt (kg)
S-1 | 8 | 0.203 | 144.79
S-2 | 8 | 0.178 | 132.81
S-3 | 8 | 0.178 | 33.91
S-4 | 10 | 0.152 | 302.56
S-5 | 10 | 0.127 | 228.84
S-6 | 8 | 0.178 | 0
S-7 | 8 | 0.178 | 58.13
TOP DISTRIBUTION BARS
Slab | Zone Ratio | Required | Total Length (m) | Wt (kg)
S-1 | 0.25 | TRUE | 0 | 38.24
S-2 | 0.25 | TRUE | 0 | 38.87
S-3 | 0.25 | TRUE | 0 | 29.93
S-4 | 0.25 | TRUE | 0 | 192.79
S-5 | 0.25 | TRUE | 0 | 149.46
S-6 | 0.25 | FALSE | 0 | 0
S-7 | 0.25 | FALSE | 0 | 0

## Slab Panels
SLAB PANEL DETAILS
PANEL SUMMARY
Slab | Type | Area (m²) | Thickness (m) | SS Dia (mm) | SS Sp (m) | LS Dia (mm) | LS Sp (m) | Top Bars (kg) | Total Steel (kg)
S-1 | Oneway | 27.614 | 0.127 | 8 | 0.152 | 8 | 0.203 | 38.24 | 172.88
S-2 | Oneway | 22.801 | 0.127 | 8 | 0.127 | 8 | 0.178 | 38.87 | 165.84
S-3 | Twoway | 5.132 | 0.127 | 10 | 0.178 | 8 | 0.178 | 29.93 | 65.22
S-4 | Twoway | 44.18 | 0.127 | 10 | 0.152 | 10 | 0.152 | 192.79 | 567.91
S-5 | Twoway | 27.457 | 0.152 | 10 | 0.127 | 10 | 0.127 | 149.46 | 433.82
S-6 | Cantilever | 0 | 0.178 | 10 | 0.152 | 8 | 0.178 | 0 | 0
S-7 | Cantilever | 10.03 | 0.178 | 12 | 0.127 | 8 | 0.178 | 0 | 102.34